## Slide 1: Management of TB: Medical and Public Health considerations
Clydette Powell, MD, MPH, FAAP
November 2012

## Slide 2
Briefly review the basics of TB and its medical management
Describe the global TB situation and challenges: DOTS expansion, TB/HIV, M/XDR-TB, engaging all providers
Describe the need and approach for new drugs and diagnostics, with focus on Gene Xpert
Describe the priority settings for Xpert and its implications for patients, providers, and public health authorities
Learning Objectives

## Slide 3: Case Study

## Slide 4: MDR-TB patient
Migrant worker, South Asia
Battling TB for 8 years
Dx at 20 yo – Rx x 6 mos, “cured”
3 yrs later- cough and weight loss
Rx- higher doses, for 8 mos
2 yrs later – Rx for 4 mos
Finally dx’d with MDR-TB
Severe side effects, unable to work

## Slide 5: Child TB - Liberia

## Slide 6: Women bear a high burden of TB

## Slide 7
Estimated number of cases, 2011
8.7 million
(8.3–9.0 million)
650,000 out of 12 million prevalent TB cases
All forms of TB
Multidrug-resistant TB
HIV-associated TB
1.1 million
(1.0–1.2 million)
Source: WHO Global Tuberculosis Control Report 2012
The Global Burden of TB
Number of cases diagnosed, 2011
5.8 million
(67%)
~600,000
(55%)
60,000
(9%)

## Slide 8
Global Burden of TB
Notes: Tuberculosis (TB) – an infectious airborne disease – is a major global health problem. Each year, there are around nine million new cases of TB, and close to two million deaths. All countries are affected, but 85% of cases occur in Africa (30%) and Asia (55%), while India and China alone represent 35%. More than 80% of the world's burden is accounted for by the 22 so-called High-Burden Countries.
TB is, in most instances, a curable disease. More than 90% of people with drug-susceptible TB can be cured in six months using combinations of first-line drugs.
8

## Slide 9: TB Incidence (%) by WHO Region
Chart: 
| Asia-ME | Americas | Europe | Africa
Thousands | 0.66 | 0.03 | 0.05 | 0.26
Most cases are in Asia

## Slide 10: Why is TB still a problem?

## Slide 11: What Needs to Be done to Control TB
Improve TB case detection (Prompt and early identification): to minimize TB transmission
  Community education for early symptom recognition and action
  Aggressive contact investigation and management
  Minimize factors associated with delay in seeking medical care and establishing definitive TB diagnosis
  Engage all health care providers, civil society organization and other sectors in TB control

## Slide 12: What Needs to Be done to Control TB
Improve TB prevention through scaling up of infection control and targeted treatment of a latent TB infection
Support development and deployment of new tools for TB diagnosis, treatment and prevention

## Slide 13
Global Plan to Stop TB 2011–2015
Launched 13 October 2010

## Slide 14: Basic clinical points

## Slide 15: Infection versus disease?

## Slide 16: LTBI vs. TB Disease
Person with LTBI (Infected) | Person with TB Disease (Infectious)
Radiograph is typically normal | Radiograph may be abnormal
Sputum smears and cultures are negative | Sputum smears and cultures may be positive
Should consider treatment for LTBI to prevent TB disease | Needs treatment for TB disease
Does not require respiratory isolation | May require respiratory isolation
NOT a TB Case
TB Case

## Slide 17: Diagnostics

## Slide 18
Evolution in TB Diagnostics
1882
1895
1907
1936
1950
1980s
2006 - 2010
Robert Koch: identified TB bacilli
Tuberculin skin test developed
Solid culture used to identify TB
First anti-TB drugs discovered
Short-course chemotherapy;
Liquid culture developed
HIV & MDR-TB
LED/fluorescence microscopy;
Line Probe Assay

## Slide 19: Diagnosis of Tuberculosis Disease
Identification of individuals with TB symptoms
Collection of specimen
Laboratory examination:
  Microscopic Exam
  Culture
Chest X-Ray
Molecular:
  GeneXpert
  Line Probe Assay

## Slide 20
Current Diagnostic Limitations
Diagnostic | Limitations
Light microscopy | Limited sensitivity especially in patients with low numbers of bacilli, extrapulmonary TB, those with HIV infection. Cannot distinguish M. tb from NTM, viable from non-viable, drug-sensitive from drug-resistant strains.
Culture | More complex and expensive than microscopy, sophisticated infrastructure with biosafety needed. Significant delay with solid culture; potential contamination with liquid culture.
FM/LED | More sensitive than light microscopy but require technical expertise; capital and running costs higher
Line Probe Assay | Significant lab infrastructure needed; location. Currently approved for smear-positive specimens.
Chest x-ray | Difficulty interpreting results; cost to patient; location
Tuberculin skin test | Cannot distinguish infection from active disease

## Slide 21: Specimen Collection
Persons suspected of having pulmonary or laryngeal TB should have at least three sputum specimens examined by acid-fast bacilli and culture
It is best to obtain a series of early-morning specimens collected on 3 consecutive days.
Specimens should be obtained in an isolated, well-ventilated area or sputum collection booth.
Notes: Acid-fast bacilli (AFB) smear (top)An examination of a specimen (e.g., sputum) that has been spread onto a glass slide, stained, washed in an acid solution, and then placed under the microscope for examination; used to detect acid-fast bacilli in a specimen. Acid-fast bacilli are not decolorized by acid-alcohol after having been stained with dyes such as basic fuchsin
Culture (top)Organisms grown on or in media (substances containing nutrients) so that they can be identified; a positive culture for M. tuberculosis contains tubercle bacilli, whereas a negative culture contains no detectable tubercle bacilli

## Slide 22: Specimen Collection: Gastric Aspiration
Gastric aspiration can also be used to obtain specimens of swallowed sputum.
It is the best way to obtain specimens from infants and some young children who cannot produce sputum.

## Slide 23: Laboratory Examination: Smear Microscopy
Detection of Acid Fast Bacilli in stained smears examined microscopically may provide the first bacteriologic clue of TB.
Smear examination is a quick procedure; results should be available within 24 hours of specimen collection.

## Slide 24: Culture techniques

## Slide 25: Laboratory Examination: Cultures
Positive cultures for M. tuberculosis confirm the diagnosis of TB disease
Conventional culture on solid medium (egg or agar): Labor intensive and provides results in 1-8 weeks
The BACTEC Radiometric System and other recently developed liquid medium systems allow detection of most mycobacterial growth in 4 to 14 days compared to 3 to 6 weeks for solid media

## Slide 26: Laboratory Examination: Molecular
Line Probe Assay
GeneXpert: A fully-automated diagnostic molecular test that simultaneously detects TB and rifampicin drug resistance and provides results in less than 2 hours

## Slide 27: Treatment

## Slide 28: Treatment of TB disease: Goals
The overall goals for the treatment of TB are to:
  Cure the individual patient, minimizing death and disability from TB
  Interrupt the transmission of M. tuberculosis to other persons

## Slide 29: Treatment Regimens
TB treatment regimen consists of two phases:
  Initial phase: 2 months of 4 drugs (isoniazid, rifampicin, pyrazinamide and ethambutol or streptomycin) aimed at rapidly killing actively dividing bacteria, resulting in the negativization of sputum
  Continuation phase: 4 to 7 months of at least 2 drugs (isoniazid and rifampicin) aimed at killing any remaining or dormant bacilli and preventing recurrence

## Slide 30: Why monitor TB treatment ?

## Slide 31: Treatment monitoring
Monitor for adherence
Monitor for Adverse Drugs Events
Monitor response to treatment:
  Smear Microscopy at 2, 5, 6 months

## Slide 32
Notes: Here is a graphic image of how long it has been since a major therapeutic breakthrough in TB drug discovery.

## Slide 33
Notes: Whereas the last 48 years of TB drug discovery have not (yet) led to the approval of any new class of agents, over 30 antiretroviral drug products from six drug classes have been approved in the past 25 years.
33

## Slide 34: Drug supplies - Libya

## Slide 36: Community-based DOTS

## Slide 37: Community Health Workers

## Slide 38: TB suspect referral

## Slide 40: Drug sellers as DOT workers

## Slide 41: Patient education

## Slide 42: Afghan treatment supporters

## Slide 43: Supervision of DOT workers

## Slide 44: TB/HIV

## Slide 45: Estimated HIV prevalence in new TB cases, 2009

## Slide 46
HIV testing for TB patients expanding
Africa
World
Although more needed to reach 100% targets in Global Plan
Several countries show very high testing rates achievable
Rwanda: 97%
Kenya: 88%
Tanzania: 88%
Malawi: 86%
Mozambique: 84%
Percentage of TB patients

## Slide 47
CPT and ART for HIV-positive TB patients also expanding
Although more needed to reach 100% targets in Global Plan
Several countries show higher rates of enrolment are possible
CPT 86%–97% in 2009
Kenya, Malawi, Mozambique, Rwanda, Tanzania, Uganda
ART close to 50% in 2009
Rwanda, Malawi
CPT
ART
Percentage of HIV+ TB patients

## Slide 48: Multi-drug resistant TB

## Slide 49: Absolute numbers of cases with MDR-TB
0–9
10–99
100–999
1000–9 999
>10 000
No estimate
~ 45% of cases in China + India
~ 55% in China + India + Russian Federation

## Slide 50: 18/36 HBCs* have insufficient capacity to diagnose MDR-TB
≥1
<1
*HBC= high-burden country
Countries = Afghanistan, Armenia, Azerbaijan, Bangladesh, Belarus, Brazil, Bulgaria, Cambodia, China, DR Congo, Estonia, Ethiopia, Georgia, India, Indonesia, Kazakhstan, Kenya, Kyrgyzstan, Latvia, Lithuania, Mozambique, Myanmar, Nigeria, Pakistan, Philippines, Republic of Moldova, Russian Federation, South Africa, Tajikistan, Tanzania, Thailand, Uganda, Ukraine, Uzbekistan, Viet Nam, Zimbabwe
Culture laboratories per 5M and DST laboratories per 10M population, 2009

## Slide 51
A fully-automated diagnostic molecular test that simultaneously detects TB and rifampicin drug resistance
Can provide results in less than 2 hours
Specially designed for use at the district or sub-district level of the health system
What is GeneXpert MTD/RIF?

## Slide 52
Extraction and purification DNA/RNA
Amplification
Detection
Conventional NAAT
Extraction and purification DNA/RNA
&
Amplification
&
Multiplex detection
(automated)
Xpert MTB/RIF
Notes: The difference of GeneXpert from conventional nucleic acid amplification test is that it is a completely closed system where processes that would require separate spaces for extraction, amplification and detection all occur inside the cartridge.

## Slide 53
Xpert MTB/RIF Assay
Notes: Xpert MTB/RIF assay is performed on a sputum sample in 3 simple steps:

## Slide 54
Sensitivity, all culture + | 91%
Sensitivity, smear + | 99%
Sensitivity, smear - | 80%
Specificity | 99%
Sensitivity, RIF resistance | 95%
Specificity, RIF sensitive | 98%
Xpert: Test Accuracy
In comparison, the sensitivity of a single direct smear was 59.5%
HIV co-infection substantially decreased the sensitivity of microscopy (to 47%), but did not significantly affect Xpert MTB/RIF performance.

## Slide 55: Implementation Study: Median time to detection
 | Median Days (IQR)
Time to detection of TB | 
Xpert | 0 (0-1)
Smear microscopy | 1 (0-1)
Liquid culture | 16 (13-21)
Solid culture | 30 (23-43)
Time to detection of RIF resistance | 
Xpert | 1 (0-1)
LPA | 20 (10-26)
Phenotypic DST | 106 (30-124)

## Slide 56: Treatment initiation
When Xpert results were not used to direct therapy:
  Patients with smear-negative, culture-positive TB started treatment after a median of 56 days (range 39-81)
When Xpert results were used to direct therapy:
  Median time to treatment reduced to 5 days (range 2-8)
Rates of untreated smear-negative, culture-positive TB reduced from 39.3% to 14.7%

## Slide 57: Individuals to Test
Should be based on a risk assessment of their HIV status and likelihood to have MDR-TB
TB suspects who should receive Xpert as a primary diagnostic tool:
  All persons living with HIV who have signs and symptoms of TB meeting the criteria of WHO recommendations
  Those seriously ill and suspected of having TB regardless of HIV status
  Those with unknown HIV status, suspected of having TB, and presenting with strong clinical evidence of HIV infection in HIV prevalent settings
  Individuals known or suspected of having TB and at high risk for MDR-TB

## Slide 58: Individuals to Test
Secondary considerations:
  Other TB suspects, depending on available resources
  WHO recommends screening for TB according to national guidelines either with chest radiography or smear microscopy prior to Xpert testing
    If x-ray abnormal, test with Xpert
    If smear negative, test with Xpert
Currently endorsed for sputum specimens only

## Slide 59: Illustrative First-Year Budget (preferential pricing for eligible countries)
 | Item | Cost
Equipment | Xpert 4-module | $17,000
 | Shipment | $1,700
 | UPS/AC | $500
 | Printer | $200
 | Total equipment | $19,400
Maintenance | Annual calibration | $1,800
Consumables | Cartridges | $9.98
 | x 3000 cartridges per year = $29,940 | 
 | Total running costs (consumables + maintenance) | $31,740
HR costs | Tech annual salary | $5,000
 | Training and TA | $5,000
 | Total HR costs | $10,000
 | TOTAL ONE-YEAR COSTS | $61,140

## Slide 60: National TB Model for South Africa*
 | Baseline scenario | Xpert scenario (accelerated scale-up) | Difference in Xpert scenario
Number of patients diagnosed with TB | 335,762 | 437,185 | 30% more patients diagnosed
Number of patients diagnosed with MDR-TB | 12,041 | 21,250 | 76% more patients diagnosed
Number of patients initiated on treatment | 255,060 | 354,975 | 39% more initiated on treatment
Method of diagnosis for those diagnosed | 46% smear microscopy, 49% culture, 6% clinically | 87% by Xpert, 0.05% smear, 11% culture, 2% clinically | 
Timing of diagnosis | 46% by visit 2 (3-5 days after first visit), another 40% by visit 3 (4-6 weeks after visit 2) | 83% diagnosed by visit 2 | 37% more patients diagnosed after first clinic visit
Ongoing need for smear microscopy | 4.1 million smears (69% for diagnosis) | 1.5 million (97% for treatment monitoring) | 63% fewer smears
Ongoing need for smear culture | 1.4 million | 1.1 million | 21% fewer cultures performed
*data/information from South Africa’s National Health Laboratory Services and the National Department of Health

## Slide 61: Cost-effectiveness studies (*without cartridge price reduction)
In South Africa:
  Cost of TB diagnosis per suspect will increase 55%
  Cost of diagnosis and treatment per TB case treated will increase by 8%
  Results do not include savings due to reduced transmission of TB as a result of earlier diagnosis and treatment initiation

## Slide 62: Key Documents and Web Sites
Key Documents:
USG TB Strategy (www.usaid.gov)
Stop TB Strategy
The Global Tuberculosis Control Report – (Dec. 2011)
Global Report on TB Drug Resistance (March 2011)
The Global Plan to STOP TB 2011 - 2015
International Standards for Tuberculosis Care
www.stoptb.org/resource_center/documents.asp
Web Sites:
WHO TB Publications www.who.int/gtb/whats-new/new_publications.htm
USAID Tuberculosis Home Page www.usaid.gov/our_work/global_health/id/tuberculosis/index.html
IUATLD www.iuatld.org
CDC www.cdc.gov/nchstp/od/nchstp.html
Global Fund www.theglobalfund.org
GDF www.stoptb.org/gdf/
TB CARE www.tbcta.org/

## Slide 63
Thank you!